Fuel Oil Tank Filtration Scope of Work

Contract will provide all labor, tools and materials to perform filtration and post testing on the UST, Day and Belly Tanks located at the addresses listed. Please provide one lump sum quote with a breakdown per building/address.

Fuel Filtration and Polishing -Hayne laboratory 8231 Parklane Rd. Columbia S.C.

Hayne Main 1 / 20,000 Gallons UST

Hayne Main 2 / 20,000 Gallons UST

Fuel Filtration and Polishing -Columbia Mills 301 Gervais St Columbia S.C.

Main / 20,000 Gallons UST

Day tank / 100 Gallons AST

Fuel Filtration and Polishing- State House 1100 Gervais St. Columbia S.C.

Main / 3000 Gallons UST

Day tank/ 300 Gallons AST

Fuel Filtration and Polishing- Supreme Court 1231 Gervais St. Columbia S.C.

300 Gallon SBT

Fuel Filtration and Polishing- Sims/Aycock 2600 Bull St. Columbia S.C.

Main / 15,000 Gallons UST

Day tank/ 300 AST

Provide Fuel Lab. Analysis Post cleaning on all listed above.

Provide Fuel Service Report.

Ronnie Taylor

Program Manager II,Facilities Management

Division of Facilities Management and Property

Services

The South Carolina

Department of Administration

915 Main Street, Columbia, SC 29201

Cell (803) 518-9993  | ronnie.taylor@admin.sc.gov

Office (803)  734-2102

The South Carolina Department of Administration (Admin) serves the citizens of South Carolina and agency partners by leading innovative efforts to provide secure, cost effective, responsive and standardized services.